SURGERY – STERILIZATION OF EQUIPMENT

HOSPITAL NAME:  _______________________________________________________

Date created or updated: _________________________________________________

AAHA Standard Referenced:

SX34.  The practice follows a written sterilization protocol that provides for appropriate sterile equipment and supplies.

Purpose: To establish a consistent approach in achieving the highest level of asepsis with each sterilizing task

Timeline:  Training on the importance of asepsis and the use of all pieces of equipment used for sterilization is implemented upon hire.  Updates are reviewed as necessary.

Team Member Responsible:  The designated practice team member(s) responsible for completing the task(s) outlined in the protocol

Supervisor/Point Person:  The practice team member(s) responsible for managing the implementation of the protocol

SUGGESTED CONTENT TO ADDRESS

General

- Define sterility shelf life for gas and steam sterilization, as well as instrument packs and individual instrument pouches

- List the type and brand of sterility indicator or integrators that are used (i.e., they measure time, temperature and pressure)

- Define the rotation of packs and instruments (i.e., the most current date is used last)

- Define a schedule for checking and resterilizing instruments and packs (i.e., practice team member who is responsible, how often this is done, etc.)

- Define a process for identifying which instruments go in which surgical packs (i.e., color code bands on the instruments)

- Outline a procedure for inspecting instruments for defects, wear and/or contaminants

- Define the location for packs and instruments (i.e., enclosed cabinet that is free of airflow, moisture and other contaminants)

- Define a process for washing and drying linens

- Define when linens are to be discarded (i.e., torn or shredding fibers)

- Define what is identified on the outside of packs, including:

  - Date

  - Contents or pack identification

  - Initials of the person that assembled the pack

Autoclave

- Define the procedure for autoclaving, such as:

  - Cleaning process

  - Cleaning schedule

  - Practice team member(s) responsible

- Outline the necessary training areas for the autoclave, such as:

  - Maintenance

  - Cleaning

  - Type of water used

  - Practice team member(s) responsible

Gas Sterilizer/Ethylene Oxide

- Define the procedure for gas sterilization, such as:

  - Approved safety program

  - Precautions

  - Safety hazards

  - Authorized practice team member(s)

Any Other Types of Sterilizer

- Define necessary training and practice team member(s) responsible for this

- Define cleaning and/or maintenance procedures

- Define any unique safety procedures and/or hazards